Water quality measurements and antimicrobial resistance in the Musi River, Hyderabad, India, 2022-2023

The data is split over four connected files:

1. Musi_river_dataframe.txt

This contains the data with variable names in a header suitable to be read as a dataframe into R. Tab-delimited text file.

2. Musi_river_units.txt

This contains explanations of all variables and units, mapped to the variables in the “Musi_river_dataframe.txt” file above and can also be read as a dataframe into R. Tab-delimited text file.

3. Musi_river_LoD_LoQ_calculations.txt

This contains explanations and calculations of how Limits of Detection and Limits of Quantification for count data were derived. Tab-delimited text file.

4. Musi_river_notes.txt

Notes on missing data, specific samples and imputations. Tab-delimited text file.

Variables included and their description and units:

| Variable | LongDescription |
| --- | --- |
| SampleID | String combining information on Location, Type, Date, Time |
| Date | Date |
| Season | Factor (Dry or Wet) |
| Type | Factor (Water or Sediment) |
| Location | Abbreviation of sampling site |
| Notes | Full name of sampling site |
| Stretch | Factor (Upstream, City, Downstream) |
| Latitude | GPS coordinates |
| Longitude | GPS coordinates |
| Distance | km |
| Nanodrop | Nanodrop (ng DNA/mL of water) or (ng DNA/mg of sediment dry mass) |
| Qubit | Qubit (ng DNA/mL of water) or (ng DNA/mg of sediment dry mass) |
| TBXB44 | TBX blue colonies 44°C log10(CFU/mL or mg OM) |
| OSS30 | OSS 30°C log10(CFU/mL or mg OM) |
| OSS44 | OSS 44°C log10(CFU/mL or mg OM) |
| ESBL30 | ESBL 30°C log10(CFU/mL or mg OM) |
| ESBL44 | ESBL 44°C log10(CFU/mL or mg OM) |
| CARB30 | CARB 30°C log10(CFU/mL or mg OM) |
| CARB44 | CARB 44°C log10(CFU/mL or mg OM) |
| Temp | Temperature (°C) |
| pH | Dimensionless |
| TDS | Total Dissolved Solids (mg/L) |
| DO | Dissolved Oxygen (mg/L) |
| Conductivity | Electrical Conductivity (µS/cm) |
| Turbidity | Nephelometric Turbidity Units (NTU) |
| TSS | Total Suspended Solids (mg/L) |
| VS | Volatile Solids (mg/L) |
| COD | COD total (mg/L) |
| Moisture | Moisture content (%) |
| OM | Organic Matter mg/kg (dry mass) |
| Nitrate | Nitrate (mg N/L water¦kg sediment) |
| Ammonium | Ammonium (mg N/L water¦kg sediment) |
| Nitrite | Nitrite (mg N/L water) |
| TP | Total Phosphorus (mg/L water¦kg sediment) |
| TOC | Total Organic Carbon (mg/L water¦kg sediment) |
| TN | Total Nitrogen (mg N/L water¦kg sediment) |
| S16_rDNA | 16S rDNA log10(copies/mL for water samples or copies/mg OM for sediment samples) |
| uidA | uidA log10(copies/mL for water samples or copies/mg OM for sediment samples) |
| aph3-Ib | aph(3'')-Ib log10(copies/mL for water samples or copies/mg OM for sediment samples) |
| CTX-M | CTX-M log10(copies/mL for water samples or copies/mg OM for sediment samples) |
| NDM | NDM log10(copies/mL for water samples or copies/mg OM for sediment samples) |
| ermF | ermF log10(copies/mL for water samples or copies/mg OM for sediment samples) |
| qnrS | qnrS log10(copies/mL for water samples or copies/mg OM for sediment samples) |
| sul2 | sul2 log10(copies/mL for water samples or copies/mg OM for sediment samples) |
| tetW | tetW log10(copies/mL for water samples or copies/mg OM for sediment samples) |
| intI1 | intI1 log10(copies/mL for water samples or copies/mg OM for sediment samples) |
| ERY | Erythromycin (ppb) |
| TMP | Trimethoprim (ppb) |
| SMX | Sulfamethoxazole (ppb) |
| AZM | Azithromycin (ppb) |
| CIP | Ciprofloxacin (ppb) |
| NOR | Norfloxacin (ppb) |

Further information on the sampling and data.

Water and sediment grab samples were collected at 10 locations along the Musi River, 1 upstream of the city (relatively clean), 8 within the city of Hyderabad (heavily polluted) and 2 downstream (pollution partially cleared), during the wet (18-19 August 2022) and dry (11-12 March 2023) seasons. Sampling occurred on days without rainfall for the preceding five days to minimize storm-related variability. At most sites, duplicate water samples were collected mid-stream from bridges using a bucket suspended on a rope and transferred to pre-sterilised bottles. Sub-samples were preserved immediately with H2SO4 for chemical oxygen demand (COD) analysis, whereas water temperature, pH, dissolved oxygen (DO), TDS and conductivity were measured on-site. Grab samples were taken from bridges or from the riverbank.

Water quality and sediment physicochemical parameters were measured using standard protocols. Dry matter (DM) and organic matter (OM) fractions were quantified using standard methods to establish a common basis for concentrations of bacteria and genes across sediment samples with different mineral content. Viable counts were taken on different media. E. coli was quantified on Tryptone Bile X-β-D-glucuronide agar as blue-green colonies, incubated at 44°C, as an indicator of faecal pollution and sentinel for AMR prevalence. 'Total' Gram-negative (GN) heterotrophic bacteria were enumerated on SDS-supplemented OECD synthetic sewage medium (OSS) at both 30°C for environmental and 44°C for gut-associated bacteria. Extended-spectrum β-lactamase (ESBL)-producing and carbapenem-resistant (CARB) GN heterotrophic subpopulations were enumerated on OSS supplemented with appropriate selective antibiotics. These clinically relevant resistance phenotypes were selected as GN bacteria account for the majority of global AMR-attributable mortality. All samples were plated in triplicate within 24 hours of collection, and colony counts recorded after 24 hours of incubation.

DNA from both water and sediment samples was extracted within 24 hours of sampling. Using qPCR, the 16S rDNA gene was quantified as a proxy for total prokaryotes and to compare with culturing data. Antimicrobial resistance genes (ARGS) included genes coding for resistance to fluoroquinolones (qnrS), aminoglycosides (aph(3'')-Ib), sulfonamides (sul2), carbapenems and third-generation cephalosporins (blaNDM and blaCTX-M), macrolides (ermF), and tetracyclines (tetW). Two more genes were included: uidA to quantify E. coli numbers and intI1 to quantify class I integrons as a proxy for mobile genetic elements (MGEs).

Synthetic DNA fragments containing suites of target genes were used as positive controls and to create standard curves, for which ten-fold serial dilutions of gene fragments were performed in DNase/RNase-free water. Every sample was analysed in technical duplicates. Standard curves were included in each PCR plate with at least seven serial dilution points and technical duplicates. A joint standard curve based on standard curves from every run was created for every gene set. Concentrations of genes in the samples were then calculated using this joint standard curve.

For further collection methods and sampling site descriptions, see the preprint below. Once the work has been published the preprint will be updated with a link to the publication.

Sonkar V, Kashyap A, Pallares-Vega R, Sasidharan SS, Modi A, Uluseker C, Jambu SC, Mohapatra PK, Larsen J, Graham DW, Thatikonda S, Kreft J-U, AMRflows Consortium (2024). Hydraulic modelling reveals untreated sewage, not pharmaceutical waste, drives antimicrobial resistance in a small river running through a big city. https://doi.org/10.1101/2024.12.21.629897