Working Title

Weight loss assay data of Polycaprolactone beads exposed to genetically modified microbes expressing plastic degrading enzymes under laboratory conditions

Summary

This dataset contains information about the number of bacterial colonies recovered from plastics beads that were incubated in a 96-well plate for 24 hours at 37 degrees Celsius.  The purpose of generating this data was to determine if artificially modulating the intracellular levels of the second messenger Cyclic-di-GMP by overexpressing plasmid encoded diguanylate cycles (wspR and dgcC) in a plastic degrading E. coli strain could lead to increased degradation of plastic beads.

File format

.csv

File names and/or naming convention

PCL_beads_Weight.csv

Nature and Units of recorded values

Individual bacterial colonies recovered on selective media plates from each culture.

| Variable | Description | Units |
| --- | --- | --- |
| Strain | Name of each strain and what was encoded in each plasmid or if the plasmid was empty. | Text |
| Replicate | Corrected Weight loss | Percentage Weight Loss |

Collection/generation methods

For PCL weight loss assays, overnight cultures grown in LB broth at 37 °C were used to inoculate 10 mL fresh LB at OD600 0.1 containing sterilised PCL beads. The cultures were grown at 37°C with agitation until OD600 0.6, then were induced with 1 mM IPTG and grown for 5 days. The culture media was refreshed after 3 days due to Ampicillin instability (culture collected, centrifuged at 5000 × g for 15 minutes, pellet resuspended in fresh media and returned to flask).

Experimental design/sampling regime

The PCL beads were collected using a fine mesh sieve (63 μm), rinsed with distilled water, washed on a room temperature rocker in 2% sodium dodecyl sulphate overnight to remove biofilm, rinsed with distilled water and dried before weighing. Control weight loss flasks with uninoculated media and PCL were used to correct the weight loss measurements to account for instrument error or nonbiological degradation from spontaneous hydrolysis so that the control had 0% weight loss.

Fieldwork and/or laboratory instrumentation

Fisher Scientific Cell Density Meter 40-80-3000-45-D1-FR-E

Sci-Quip S-Series Incubator Incu-80S

Calibration steps and values

Prior to measuring the optical density (OD600) of cultures, the Cell Density Meter was blanked using uninoculated culture media in a FisherBrand 1.5ml FisherBrand Cuvette. Incubator is set to alarm with any deviation from the set temperature which was 37 °C. No temperature alarm events were reported during the generation of this data. All equipment had a valid Portable appliance testing certificate.

Quality control

Controls included bacteria with empty vectors (EV) that did not contain the genes required to induce biofilm formation. Three biological replicates were performed.

References

Howard SA, McCarthy RR. Modulating biofilm can potentiate activity of novel plastic-degrading enzymes. NPJ Biofilms Microbiomes. 2023 Oct 3;9(1):72. doi: 10.1038/s41522-023-00440-1. PMID: 37788986; PMCID: PMC10547765.