Climate data from a semi-deciduous tropical forest, Bobiri Forest Reserve, Ghana

– Supporting Information

As a condition of using these data you must cite it. See the catalogue page, under ‘Get data’ for the full citation.

Table of Contents

1	Overview	3

2	Parameters	3

3	File Information	3

3.1	File Format	3

3.2	File naming convention	3

3.3	File contents	3

3.4	Nature and units of recorded values	3

4	Spatial Coverage	3

5	Temporal Coverage	4

5.1	Temporal resolution	4

6	Data Acquisition and Processing	4

6.1	Experimental design/sampling regime	4

6.2	Collection/Generation/Transformation Methods	4

6.3	Fieldwork and/or laboratory instrumentation	4

6.4	Calibration steps and values	4

6.5	Analytical methods	5

6.6	Quality Control	5

7	Miscellaneous	5

8	References	5

# Overview

The dataset provides meteorological data including air temperature, humidity, solar radiation, and wind speed collected above the canopy at Bobiri Forest Reserve, Ghana. Data is at high temporal resolution (10 second). This site is a semi-deciduous tropical forest, with mean annual precipitation approx. 1500 mm, mean annual temperature approx. 25 °C, and loamy soil. The forest area around the tower was lightly selectively logged over 60 years ago. Focal species in the images are Triplochiton scleroxylon, Terminalia superba, Celtis zenkeri, Turreanthus africanus, Guarea cedrata and Pterygota macrocarpa. For more information on the site see Djagbletey et al. (2018) and Moore et al. (2018). The variable recorded is surface temperature, predominately of tree canopies (leaves, branches, stems). Data were collected in order to provide auxiliary data for other studies completed at the site. One year of data, November 2022 – November 2023, are provided. Data were collected by the dataset authors.

# File Information

## File Folder structure and naming convention

One file is provided, BobiriClimateData.csv, which contains all the climate data.

## File contents

Table 1. Description of variables in the file BobiriClimateData.csv.

| Variable/Column header | Description | Units |
| --- | --- | --- |
| TIMESTAMP | Date and time of sample | DD/MM/YYYY HH:MM:SS |
| SlrFD_W | Solar radiation | W m-2 |
| Rain_mm_Tot | Rainfall during time interval | mm per 10 seconds |
| Strikes_Tot | Lightning strikes during time interval | Number of strikes per 10 seconds |
| Dist_km | Mean distance to lightning strike | km |
| WS_ms | Wind speed | m s-2 |
| WindDir | Wind direction | ° |
| AirT_C | Air temperature | °C |
| VP_mbar | Vapour pressure | mbar |
| BP_mbar | Barometric pressure | mbar |
| RH | Relative humidity | % |

Table 2. Description of measurement ranges in the BobiriClimateData.csv. Information provided from https://www.campbellsci.com/climavue-50

| Variable/Column header | Measurement range | Resolution | Accuracy |
| --- | --- | --- | --- |
| SlrFD_W | 0 to 1750 W m-2 (spectral range 300-1150 nm) | 1 W m-2 | ±5% of measurement |
| Rain_mm_Tot | 0 to 400 mm/h | 0.017 mm | ±5% of measurement |
| Strikes_Tot | 0 to 65,535 strikes | 1 strike | > 25% detection at < 10 km typical |
| Dist_km |  |  |  |
| WS_ms | 0 to 30 m/s | 0.01 m/s | 0.3 m/s or 3%, whichever is greater |
| WindDir | 0° to 359° | 1° | ±5° |
| AirT_C | -50° to +60°C | 0.1 °C | ±0.6°C |
| VP_mbar | 0 to 47 kPa | 0.01 kPa | Varies with temperature and humidity; ±0.2 kPa typical below 40°C |
| BP_mbar | 500 to 1100 hPa | 0.1 hPa | ±1 mbar |
| RH | 0 to 100% | 0.1 | ±3% RH typical |

# Spatial Coverage and Site Overview

The site is located at 6.69°N, 1.34°W in the Ashanti Region, Ghana, and is described in see Djagbletey et al. (2018) and Moore et al. (2018). Elevation of the site is 280 masl. The site is a natural semi-deciduous tropical forest. The area was logged lightly over 60 years ago.

# Temporal Coverage

## Temporal resolution

Data collection was initiated on 1 November 2022 and continues through to 30 November 2023. Some data is missing due to technical faults, and there are no image files for these instances. Data are collected at 10 minute temporal resolution, throughout both day and night, and all through all seasons of the year.

# Data Acquisition and Processing

## Experimental design/sampling regime

The data are purely observational, there are no experimental treatments. The weather station is situated at the top of a 60m tower. Figure 1 shows an image of the forest canopy from a co-located visible light camera.

Figure 1. Visible light image from a camera situated at the top of the tower close to the weather station, taken 30 November 2023 at 14:20.

## Collection/Generation/Transformation Methods

Data were recorded as .DAT files using a LabView program, initially stored on a PC at the site, then copied to a University of Plymouth server. Files were converted to .csv using Excel. Monthly files were collated into a single file using R.

## Fieldwork and/or laboratory instrumentation

All data were collected using a Campbell Scientific ClimaVue50 Compact Digital Weather Sensor.

## Calibration steps and values

Data provided are raw data from the sensor.

## Quality Control

Data provided are raw data from the sensor.

# References

Djagbletey et al. (2018) Floristic composition and carbon stocks of tree species of different conservation status following selective logging in a moist semi-deciduous forest in Ghana. Ghana Journal of Forestry, 34, 15–34.

Moore et al. (2018) Forest biomass, productivity and carbon cycling along a rainfall gradient in West Africa. Global Change Biology, 24, e496–e510. DOI: 10.1111/gcb.13907